## Slide 1: Radiotherapy Dose Optimization via Clinical Knowledge Based Reinforcement Learning
Paul Dubois,
Nikos Paragios, Paul-Henry Cournède, Pascal Fenoglietto
AIME 2024

## Slide 2: Cancer treatments
-: Heavy medicine on all the body
+: Tumor does not need to be localized
+: Safe
-: Tumor needs to be localized
Surgery
Chemotherapy
Radiotherapy
+: Relatively safe (most tissues are spared)
-: Tumor needs to be (relatively) localized

## Slide 3: Multi-Leaf Collimator
Notes: Do the demo with wood MLC & light

## Slide 4: Two ways of examining a dose
3D dose
Dose-Volume Histograms (DVHs)

## Slide 5: Mathematical formulation
Optimize: with (the irradiation window)
and (the list of irradiation angles)
Such that: (as we can not emit negative energy beams)
With:
We want to be the “best” possible.
Minimize
: set of structures
: Voxels of structure
: % of structure must receive
at least/at most Gy
: penalty function used

## Slide 6: How to penalize?
d = [ 5 ; 10 ; 20 ; 22 ; 23 ; 25 ; 26 ; 28 ; 29 ; 32 ]
Gy
Penalize voxels:
within 80% lower dose,
with dose >25 Gy
Penalize voxels with dose > 25 Gy
(until constraint is satisfied)
Penalize 80% lower dose voxels
(until constraint is satisfied)

## Slide 7: Mathematical formulation
Optimize: with (the irradiation window)
and (the list of irradiation angles)
Such that: (as we can not emit negative energy beams)
With:
We want to be the “best” possible.
Minimize
: set of structures
: Voxels of structure
: dose min/max on structure

## Slide 8: Reinforcement Learning Paradigm
How good is the RT plan?
3D dose, DVH, weights
Optimization Engine
Weights changes
Dosimetrist Agent

## Slide 9: Reinforcement Learning Paradigm

## Slide 10: Evaluating a State
State
0.5679
Conformity index
Homogeneity index
Specific DVH values
Gradient index
…

## Slide 11: Evaluating a State
State
Clinical Dose
0.4683
(DVH distance)

## Slide 12: Architecture

## Slide 13: Data

## Slide 14: Numerical results
Agent \ Metric | Mean Final Distance (*) | Homogeneity Score (¤) | Conformity Score (¤)
RL Distance | 0.612 | 1.871 | 0.406
RL Homogeneity | 2.012 | 4.387 | 0.567
RL Conformity | 1.770 | 4.017 | 0.507
Meta-optimization | N/A | 4.117 | 0.610
Clinical doses | 0 | 1.541 | 0.580
(*) : Lower is better (¤) : Higher is better

## Slide 15: Results

## Slide 16: Results

## Slide 17: Results

## Slide 18: Results

## Slide 19: Results

## Slide 20: Thank you!
AIME 2024